## Sheet1
STATE LOAD DESPATCH CENTER RAIPUR, CHHATTISGARH STATE POWER TRANSMISSION COMPANY LTD,
(Successor Company of CSEB)
HIGHLIGHTS OF GENERATION & DEMAND AT 06:15 HRS OF | [7 empty] | DATE | 2012-07-16
| STATION # UNIT | INSTALLED CAPACITY (MW) | ACTUAL GEN. IN (MW) AT 06:15AM | LAST TRIPPING DATE | AT TIME | SYNCRONISATION DATE | AT TIME | REASON OF TRIPPING
| KORBA(E) # 1 | 50 | 37 | 2012-07-09 | 16:07 | 2012-07-09 | 23:50 | DUE TO S/H STEAM TEMP. LOW
| KORBA(E) # 2 | 50 | 37 | 2012-06-15 | 4:23 | 2012-07-02 | 04:00 | AOH
| KORBA(E) # 3 | 50 | 0 | 2012-07-16 | 1:11 | - | - | HFO LINE LKG.
| KORBA(E) # 4 | 50 | 36 | 2012-07-10 | 12:28 | 2012-07-10 | 14:00 | DUE TO S/H STEAM TEMP. LOW
| KORBA(E) # 5 | 120 | 0 | 2012-06-16 | 08:55 | - | - | DUE TO COAL PROBLEM & FURTHER TAKEN ON AOH
| KORBA(E) # 6 | 120 | 83 | 2012-07-05 | 20:15 | 2012-07-06 | 08:05 | DUE TO JAM IN AIR HEATER MOTOR
| KORBA(E) EXTN # 1 | 250 | 238 | 2012-07-07 | 01:41 | 2012-07-07 | 03:32 | DUE TO FLAME FAILURE
| KORBA(E) EXTN # 2 | 250 | 208 | 2012-06-05 | 15:08 | 2012-06-05 | 17:31 | DUE TO ELECTRICAL FAULT
| KORBA(W) # 1 | 210 | 207 | 2012-07-02 | 04:25 | 2012-07-02 | 23:12 | DUE TO LTSH TUBE LEAKAGE.
| KORBA(W) # 2 | 210 | 208 | 2012-06-20 | 13:27 | 2012-06-20 | 15:29 | 6.6 KV UNIT BUS E/F
| KORBA(W) # 3 | 210 | 193 | 2012-07-12 | 19:41 | 2012-07-13 | 10:00 | DUE TO ECONOMIZER TUBE LEAKAGE
| KORBA(W) # 4 | 210 | 186 | 2012-07-06 | 19:21 | 2012-07-07 | 20:01 | BOILER TUBE LKG.
| TOTAL (THERMAL) | 1780 | 1433
|  |  |  | Y'DAY GEN(IN LU) |  |  |  | Y'DAY RUNNING HOURS
| BANGO # 1 | 40 | 0 | 1.2 |  |  |  | 0.125
| BANGO # 2 | 40 | 0 | 0 |  |  |  | 0
| BANGO # 3 | 40 | 0 | 0 |  |  |  | 0
| TOTAL BANGO | 120 | 0 | 1.2 |  |  |  | 0.125
| BANGO DAM LEVEL & LIMIIT IN MTRS | PRESENT | 351.75 | F.R.L. | 359.66 | MINIMUM | 333.66
| TOTAL GANGREL | 10 | 0 | 0.25722 |  |  |  | 0
| GANGREL DAM LEVEL IN MTRS | PRESENT | 344.42
| TOTAL SIKASAR | 7 | 0 | 0 |  |  |  | 0
| MINI MICRO HYDEL KWB | 1.7 | 0 | 0.1532 |  |  |  | 24:00
| TOTAL HYDEL | 138.7 | 0
| TOTAL THERMAL+HYDEL | 1918.7 | 1304
THERMAL CAPACITY ON BAR |  |  | 1610 | MW |  |  |  | CS SHARE | 861.98
HYDEL AVAILABILITY |  |  | 137.8 | MW | INJECTION BY JINDAL |  | 42 | INTER STATE STOA | -122
CSPTCL THERMAL+HYDEL GEN |  |  | 1304 | MW | STOA INJECTION |  | 281
CSPTCL DEMAND MET |  |  | 2554 |  |  |  |  | CSPTCL AVAILIBILITY | 2635.98
LOAD SHEDDING (IF ANY) |  |  | 0 |  | OTHER INJEC (ESTIMATED) |  | 105 | BILATERAL IMP(+)/EXP(-) | 1
UNRESTRICTED DEMAND |  |  | 2554 |  | TOTAL CPP INJECTION |  | 428 | CSPTCL INHAND AVAILIBILITY | 2636.98
PREVIOUS DAY STATUS AT A GLANCE | [6 empty] | DATE | 2012-07-15
PARTICULARS |  | IN LU | PARTICULARS |  |  | IN MW
A. | TOT THERMAL GEN. | 351.62 | MAX DEMAND(MET) AT 20:00 HRS. |  |  | 2664
| TOT. AUX.CONSUMPTION | 33.5407
| NET THERMAL SENT OUT | 318.0793 | MIN DEMAND(MET) AT 14:00 HRS. |  |  | 2264
| TOT. HYDEL GEN | 1.6104
| TOT. AUX.CONSUMPTION | 0.04591 | Y'DAY AVG DEMAND |  |  | 2455.2917
| NET HYDEL SENT OUT | 1.5645 | MAX UNRESTRICTED DMD WITH FREQ CORRECTION = 2720MW |  |  | 2720
| NET CSPTCL GEN "A" | 319.6438
B.
| JSPL | 17.124 | LOAD SHEDDING(IF ANY) |  |  | 22MW
| JPL | 0
| OTHER INJECTION | 25.2
| INTER STATE STOA INJECTION | 66.81
| INTER STATE STOA SCHEDULED | -29.1881
| TOTAL AVAILABLE "B" | 79.9459
C | TOTAL ENERGY AVAILABLE IN THE STATE "A+B" | 399.5897
D | CSPTCL CONSUMPTION | 593.6492
E | BILATERAL IMP(+)/EXP(-) + BSP SCHEDULE | 35.9052
F | DRAWL FROM CS TO MEET STATE DEMAND | 158.1542 |  |  |  |  | Shift Incharge: SLDC:CSPTCL : RAIPUR
Formulas:
LAST TRIPPING DATE = '[1]ENERGY'!AC10
SYNCRONISATION DATE = '[1]ENERGY'!AF10
REASON OF TRIPPING = '[1]ENERGY'!K47
REASON OF TRIPPING = [REASON OF TRIPPING, row above]+I20+I19
R2
R2